## Consistency Report
FenX Takeoff Tool — Consistency & Quality Report
Project: Thrive New Run ¦ Type: Single Dwelling
Takeoff Summary
Metric | Value
Total Openings Detected | 35
Total Consistency Flags Raised | 47
Overall Confidence Score | 41.9%
Takeoff Process Status | REVIEW REQUIRED
Consistency Flags and Discrepancies
Item Ref | Flag Category | Description / Resolution Action
NatHERS Certificate | Info | No NatHERS certificate was provided. Takeoff is based on floor plans only (BRD M3.1.007). Glazing performance values (U-value, SHGC, glazing product) are not available and are set to N/A. Manual review is required before submission.
DS1827 | TBD Field | Location is TBD/Unknown for DS1827. Verify room/location manually.
DS1827 | TBD Field | Orientation is TBD/Unknown for DS1827. Verify orientation manually.
DS1806 | TBD Field | Location is TBD/Unknown for DS1806. Verify room/location manually.
DS1806 | TBD Field | Orientation is TBD/Unknown for DS1806. Verify orientation manually.
DS1830 | TBD Field | Location is TBD/Unknown for DS1830. Verify room/location manually.
DS1830 | TBD Field | Orientation is TBD/Unknown for DS1830. Verify orientation manually.
DS1824 | TBD Field | Location is TBD/Unknown for DS1824. Verify room/location manually.
DS1824 | TBD Field | Orientation is TBD/Unknown for DS1824. Verify orientation manually.
DS1806 | TBD Field | Location is TBD/Unknown for DS1806. Verify room/location manually.
DS1806 | TBD Field | Orientation is TBD/Unknown for DS1806. Verify orientation manually.
DS1215 | TBD Field | Location is TBD/Unknown for DS1215. Verify room/location manually.
DS1215 | TBD Field | Orientation is TBD/Unknown for DS1215. Verify orientation manually.
DS1215 | TBD Field | Location is TBD/Unknown for DS1215. Verify room/location manually.
DS1215 | TBD Field | Orientation is TBD/Unknown for DS1215. Verify orientation manually.
DS2115 | TBD Field | Location is TBD/Unknown for DS2115. Verify room/location manually.
DS2115 | TBD Field | Orientation is TBD/Unknown for DS2115. Verify orientation manually.
DA2008 | TBD Field | Orientation is TBD/Unknown for DA2008. Verify orientation manually.
DFS2124 | TBD Field | Location is TBD/Unknown for DFS2124. Verify room/location manually.
DFS2124 | TBD Field | Orientation is TBD/Unknown for DFS2124. Verify orientation manually.
DSD2115 | TBD Field | Orientation is TBD/Unknown for DSD2115. Verify orientation manually.
DAD2121-3 | TBD Field | Orientation is TBD/Unknown for DAD2121-3. Verify orientation manually.
820d | TBD Field | Orientation is TBD/Unknown for 820d. Verify orientation manually.
820d | TBD Field | Orientation is TBD/Unknown for 820d. Verify orientation manually.
820d | TBD Field | Orientation is TBD/Unknown for 820d. Verify orientation manually.
2/820d | TBD Field | Orientation is TBD/Unknown for 2/820d. Verify orientation manually.
CSI CLASSIC | TBD Field | Location is TBD/Unknown for CSI CLASSIC. Verify room/location manually.
CSI CLASSIC | TBD Field | Orientation is TBD/Unknown for CSI CLASSIC. Verify orientation manually.
820d | TBD Field | Orientation is TBD/Unknown for 820d. Verify orientation manually.
D02 | TBD Field | Orientation is TBD/Unknown for D02. Verify orientation manually.
W25 | TBD Field | Orientation is TBD/Unknown for W25. Verify orientation manually.
W03 | TBD Field | Orientation is TBD/Unknown for W03. Verify orientation manually.
W04 | TBD Field | Orientation is TBD/Unknown for W04. Verify orientation manually.
W05 | TBD Field | Orientation is TBD/Unknown for W05. Verify orientation manually.
W29 | TBD Field | Orientation is TBD/Unknown for W29. Verify orientation manually.
W30 | TBD Field | Orientation is TBD/Unknown for W30. Verify orientation manually.
D01 | TBD Field | Orientation is TBD/Unknown for D01. Verify orientation manually.
W01 | TBD Field | Orientation is TBD/Unknown for W01. Verify orientation manually.
W02 | TBD Field | Orientation is TBD/Unknown for W02. Verify orientation manually.
CSI CLASSIC DOOR | TBD Field | Orientation is TBD/Unknown for CSI CLASSIC DOOR. Verify orientation manually.
820d | TBD Field | Orientation is TBD/Unknown for 820d. Verify orientation manually.
820d | TBD Field | Orientation is TBD/Unknown for 820d. Verify orientation manually.
820d | TBD Field | Orientation is TBD/Unknown for 820d. Verify orientation manually.
720d | TBD Field | Orientation is TBD/Unknown for 720d. Verify orientation manually.
820d | TBD Field | Orientation is TBD/Unknown for 820d. Verify orientation manually.
CSI CLASSIC DOOR | TBD Field | Location is TBD/Unknown for CSI CLASSIC DOOR. Verify room/location manually.
CSI CLASSIC DOOR | TBD Field | Orientation is TBD/Unknown for CSI CLASSIC DOOR. Verify orientation manually.

## Takeoff
Thrive New Run — Takeoff Takeoff schedule
Location | W/D Number | Height (mm) | Width (mm) | Type | Orientation | Glazing Type | U-value | SHGC | Frame Material | Quantity | Source Reference
TBD | DS1827 | 1800 | 2650 | sliding | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
TBD | DS1806 | 1800 | 610 | sliding | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
TBD | DS1830 | 1800 | 3010 | sliding | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
TBD | DS1824 | 1800 | 2410 | sliding | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
TBD | DS1806 | 1800 | 610 | sliding | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
TBD | DS1215 | 1200 | 1450 | sliding | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
TBD | DS1215 | 1200 | 1450 | sliding | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
TBD | DS2115 | 2057 | 1450 | sliding | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Study | DA2008 | 2057 | 850 | awning | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 2 | Plans p.3
TBD | DFS2124 | 2143 | 2410 | fixed | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
Alfresco | DSD2115 | 2100 | 1450 | sliding door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Entry | DAD2121-3 | 2143 | 2148 | double hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Porch | 820d | 2040 | 820 | hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Laundry | 820d | 2040 | 820 | hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Entry | 820d | 2040 | 820 | hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Alfresco | 2/820d | 2040 | 1640 | double hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
TBD | CSI CLASSIC | 2143 | 4810 | sliding door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.5
Laundry | 820d | 2040 | 820 | hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.8
Porch | D02 | 2100 | 3084 | double action door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Lounge | W25 | 1800 | 2650 | sliding window | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
Bed 1 | W03 | 1200 | 1450 | sliding window | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
Bed 2 | W04 | 1200 | 1450 | sliding window | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
Bed 3 | W05 | 1200 | 1450 | sliding window | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
Family | W29 | 2057 | 2650 | sliding window | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Family | W30 | 2057 | 2650 | sliding window | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Alfresco | D01 | 2100 | 1450 | sliding door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Lounge | W01 | 2057 | 2650 | sliding door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Bath | W02 | 600 | 1810 | sliding window | TBD | Not specified — no NatHERS schedule | N/A | N/A | Aluminium | 1 | Plans p.3
Alfresco | CSI CLASSIC DOOR | 2143 | 4810 | sliding door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Entry | 820d | 2040 | 820 | hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Laundry | 820d | 2040 | 820 | hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Porch | 820d | 2040 | 820 | hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.3
Porch | 720d | 2040 | 720 | hinged door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 2 | Plans p.3
Entry | 820d | 2040 | 820 | hinged door | TBD | Clear | N/A | N/A | Aluminium | 1 | Plans p.5
TBD | CSI CLASSIC DOOR | 2143 | 4810 | sliding door | TBD | Not specified — no NatHERS schedule | N/A | N/A |  | 1 | Plans p.5